## Slide 1
PHASE 2
YOLOv8 Localization
& Segmentation
Bone Fracture Detection on FracAtlas · Reproduction + Systematic Ablation
65.1%
mAP@0.5 Detect
+8.9pp
vs Paper
54.6%
Mask mAP@0.5
Y0–Y4
Experiments
Weeks 7–8–9 · March 12 – April 2, 2026

## Slide 2
RECAP
Previous Work — Phase 1 ResNet 18 Complete
Phase | Milestone | Key Result
Wk 1–2 | Dataset & Literature Review | FracAtlas selected · 4,083 X-rays · F1 defined as primary metric
Wk 3–4 | E3 Baseline — ResNet-18 | F1=57.7% ¦ Recall=77.0% ¦ Acc=79.2% ¦ AUC=0.857
Wk 5–6 | Resnet-18 Final Model | E4e cosine warmup · threshold=0.425 · F1=65.81% ¦ AUC=0.8884
Wk 5–6 | GradCAM + SOTA Checks | GradCAM · SOTA table completed
Wk 7-8-9 → | YOLO Phase - SOTA | YOLO localization & segmentation on FracAtlas
Benchmark to beat:
FracAtlas paper (Abedeen et al., 2023) — YOLOv8s · Detect mAP@0.5 = 56.2% · Recall = 47.3% · Seg Mask mAP@0.5 = 58.9%
MSc. Explainability & Reliability in Medical AI | April 2026
Slide 2 / 16

## Slide 3
OBJECTIVES
YOLO Objectives & Approach
O1
Reproduce Paper Baseline
Exact YOLOv8s reproduction of Abedeen et al. (2023). Must match within ±2pp mAP@0.5 before any improvements.
O2
Systematic Ablation
training length (Y1),
resolution (Y2, Y3),
model capacity (Y4).
Primary metric: mAP@0.5.
O3
Clinical Framing
Every metric improvement framed as clinician impact. Recall = missed fractures. Each +5pp mAP = fewer missed cases.
GitHub repo created: Explainability-Reliability-in-Medical-AI-Systems · Single entry point (main.py) · YAML-driven configs · xai/ placeholder ready for Phase 3
MSc. Explainability & Reliability in Medical AI | April 2026
Slide 3 / 16

## Slide 4
FINDING
Methodological Finding: Paper Reproducibility Investigation
635 vs 574
Training Images
Paper text states 574 fractured images. Notebook inspection reveals 635 were actually used — the difference of 61 equals exactly the FracAtlas test set size.
117 vs 91
Val Instances (Seg)
Their COCO-to-polygon conversion captured 117 validation instances vs our 91. This enriches their mAP denominator and inflates apparent performance.
v8.0.49
vs v8.4.27
Ultralytics Version
Our version includes erasing=0.4, rle=1.0, and sem_loss augmentations absent in their version — altering training dynamics.
±2pp
Reproduction Tolerance
Detection gap fully closed: Y0B achieves mAP=0.547, within −1.5pp of paper (0.562). Reproduction confirmed despite discrepancies.
These discrepancies are documented as a methodological thesis contribution — not a failure of reproduction.
MSc. Explainability & Reliability in Medical AI | April 2026
Slide 4 / 16

## Slide 5
Y0 BASELINE
Three-Way Baseline Reproduction Results
DETECTION
Run | Train Images | Optimizer | mAP@0.5 | P | R
Paper | 635 | SGD | 0.562 | 0.807 | 0.473
Y0A | 574 (paper text) | SGD | 0.484 | 0.597 | 0.484
Y0B ✓ | 635 (paper notebook) | AdamW | 0.547 (−1.5pp) | 0.669 | 0.512
Y0C ✗ | 3,940 (all negatives) | AdamW | 0.290 (−0.257) | 0.333 | 0.297
SEGMENTATION
Run | Box mAP@0.5 | Mask mAP@0.5 | Mask P | Mask R
Paper | 0.627 | 0.589 | 0.830 | 0.499
Y0A | 0.531 | 0.495 | 0.677 | 0.505 ↑
Y0B ✓ | 0.560 | 0.507 | 0.627 | 0.548 ↑
→ Y0B within −1.5pp of paper → reproduction CONFIRMED. Y0B becomes the controlled baseline.
→ Y0C (6:1 neg ratio) drops mAP by −25.7pp → negative flood hypothesis confirmed. Skipped for seg.
→ Mask Recall in both Y0A & Y0B exceeds paper (0.505/0.548 vs 0.499) — augmentation pipeline advantage.
→ All Y0 curves still descending at epoch 30 → primary motivation for Y1 extended training.
MSc. Explainability & Reliability in Medical AI | April 2026
Slide 5 / 16

## Slide 6
Y0 CURVES
All Y0 Runs Terminate Mid-Descent at Epoch 30
Y0A — 574 imgs, SGD
Y0B — 635 imgs, AdamW
Y0C — 3,940 imgs (neg flood)
KEY OBSERVATION
All three Y0 runs are visibly descending at epoch 30 — loss has not converged, validation metrics are still rising. Y0B reaches mAP=0.547 but the curve shows headroom. Y0C's validation metrics collapse despite a decreasing training loss — the 6:1 negative flood overwhelms the fracture signal. This is the direct empirical motivation for Y1: extended training with permissive patience.
MSc. Explainability & Reliability in Medical AI | April 2026
Slide 6 / 16

## Slide 7
Y1 RESULTS
Extended Training — Two-Way Design (Y1A vs Y1B)
Y1A
epochs=100, patience=10
Stopped at epoch 62
Best epoch: 52
mAP = 0.508 (−5.4pp vs paper)
PATIENCE TOO AGGRESSIVE
Y1B
epochs=200, patience=50
Full run: 200 epochs
Best epoch: 170
mAP = 0.651 (+8.9pp vs paper)
BEST MODEL
SEGMENTATION — Y1 Results
Run | Best Epoch | Box mAP@0.5 | Mask mAP@0.5 | vs Paper (mask)
Paper | 30 | 0.627 | 0.589 | —
Y0B | 30 | 0.560 | 0.507 | −8.2pp
Y1A | 54 | 0.580 | 0.518 | −7.1pp
Y1B ★ | 170 | 0.651 | 0.546 | −4.3pp*
* Gap attributable to paper's 117 vs our 91 val instances + test leakage — not a model deficiency
MSc. Explainability & Reliability in Medical AI | April 2026
Slide 7 / 16

## Slide 8
Y1B DETECT
Y1B Detection — Best Model Training Curve
Phase 1: Rapid gain
Epochs 1–50
Phase 2: Steady improvement
Epochs 50–170 (LR decay)
Phase 3: Plateau
Epochs 170–200
65.1%
mAP@0.5
76.1%
Precision
59.5%
Recall
170 / 200
Best Epoch
+8.9pp
vs Paper
MSc. Explainability & Reliability in Medical AI | April 2026
Slide 8 / 16

## Slide 9
Y1B DETECT
Y1B Detection — PR Curve & Error Analysis
PRECISION-RECALL CURVE
NORMALISED CONFUSION MATRIX
mAP@0.5 = 0.651 · Curve maintains high precision (>90%) at low recall, degrading gracefully as threshold drops. Wide flat region between recall 0.1–0.6 indicates stable operating zone for clinical deployment.
63% TP · 37% missed → clinically: 1 in 3 fractures gets no bounding box. Zero false positives on background images.
MSc. Explainability & Reliability in Medical AI | April 2026
Slide 9 / 16

## Slide 10
Y1B DETECT
Y1B Detection — Qualitative Validation Results
GROUND TRUTH LABELS
MODEL PREDICTIONS
Multi-region coverage: hand · wrist · forearm · leg · shoulder · hip · Confidence scores shown on predictions
MSc. Explainability & Reliability in Medical AI | April 2026
Slide 10 / 16

## Slide 11
Y1B SEG
Y1B Segmentation — Training Curve (179 Epochs)
⚠ val/seg_loss spike at epoch 1 — known Ultralytics artefact, not a training failure
60.8%
Box mAP@0.5
54.6%
Mask mAP@0.5
51.6%
Mask Recall
169 / 179
Best Epoch
−4.3pp*
vs Paper (mask)
* Remaining gap attributable to paper's richer annotation coverage (117 vs 91 val instances), not model deficiency
Slide 11 / 16

## Slide 12
Y1B SEG
Y1B Segmentation — Qualitative Validation Results
GROUND TRUTH LABELS
MODEL PREDICTIONS + MASKS
Polygon masks go beyond bounding boxes — traces the fracture line, anchoring future XAI explanations (Pillar 1: cortical break attributes)
MSc. Explainability & Reliability in Medical AI | April 2026
Slide 12 / 16

## Slide 13
Y2/Y3/Y4
Resolution & Capacity Ablations
Run | Variable Changed | Detect mAP@0.5 | Seg Mask mAP@0.5 | vs Y1B
Y1B ★ | Baseline (600px, YOLOv8s) | 0.651 | 0.546 | —
Y2 | imgsz = 640px (COCO native) | 0.607 | 0.489 | −4.4pp / −5.7pp
Y3 | imgsz = 800px (high-res hypothesis) | 0.601 | 0.500 | −5.0pp / −4.6pp
Y4 | YOLOv8m (25.8M params) | 0.613 | — (skipped) | −3.8pp
✗ Y2
COCO Alignment Hypothesis
Rejected. 640px (COCO native resolution) is definitively worse than 600px on both detection (−4.4pp) and segmentation (−5.7pp). Pre-training alignment was not the bottleneck.
✗ Y3
High-Resolution Detail Hypothesis
Rejected. 800px produces marginally better seg than 640px (0.500 vs 0.489) but both are clearly inferior to 600px. Fractures encode as density changes, not high-frequency edges.
✗ Y4
Model Capacity Hypothesis
Rejected. YOLOv8m (2.3× parameters) underperforms YOLOv8s by 3.8pp. At 635 training images, the larger model overfits — COCO pre-training cannot compensate.
MSc. Explainability & Reliability in Medical AI | April 2026
Slide 13 / 16

## Slide 14
FINDINGS
Three Clean Thesis Findings from Phase 2
01
Extended Training Wins
200 epochs + patience=50
Y1B (best epoch 170) gains +10.4pp over Y0B and +8.9pp over the paper. The LR decay schedule is critical — the model needs epochs 100–170 for steady convergence. Patience=10 (Y1A) quit 108 epochs before the actual optimum.
+10.4pp mAP
02
600px is Optimal
Monotonic degradation at higher resolution
Performance decreases at 640px (−4.4pp) and 800px (−5.0pp) for detection, and identically for segmentation. FracAtlas X-rays encode fractures as low-contrast density changes — additional grey letterbox padding adds noise at higher resolutions with only 635 training images.
600px > 640px > 800px
03
YOLOv8s Beats YOLOv8m
Data scarcity defeats capacity
The medium model (25.8M params, 2.3× small) underperforms by 3.8pp on detection despite stronger COCO pre-training. At 635 training images the larger model overfits — the data budget is the bottleneck, not model capacity.
−3.8pp (larger model)
MSc. Explainability & Reliability in Medical AI | April 2026
Slide 14 / 16

## Slide 15
LIMITATIONS
Documented Boundaries — Not Weaknesses
82
imgs
Small Validation Surface
82 images, 91 annotated instances. CUDA non-determinism alone introduces ±2–3pp run-to-run variance. Comparisons within 2–3pp should be treated as within noise, not real differences.
1
split
Single Val Split
No cross-validation performed. Official FracAtlas CSV split is fixed for benchmark comparability. A different seed/split could shift results ±several pp.
635
imgs
Dataset Size Ceiling
Y1B learning curve plateaued at epoch 170. The model has extracted available signal from 635 images. Further gains require more data — not longer training or architectural scaling.
−4.3
pp
Seg Paper Gap (−4.3pp)
Paper's mask mAP (0.589) not fully reproduced. Our best: 0.546. Three documented factors: (a) 34 extra seg train images in paper, (b) 117 vs 91 val instances, (c) different Ultralytics version.
All limitations are fully documented. Gaps are explained by methodology, not undisclosed — this is a thesis contribution.
MSc. Explainability & Reliability in Medical AI | April 2026
Slide 15 / 16

## Slide 16
GITHUB
Repository: Explainability-Reliability-in-Medical-AI-Systems
Single Entry Point
main.py routes all experiments via --config + --task flags. --debug flag overrides epochs=1 for instant pipeline validation.
One Variable Per Config
Each YAML changes exactly one hyperparameter from baseline. The ablation logic is readable from the config alone — no code tracing needed.
Phase-Agnostic Utilities
logger.py and plot.py are fully independent of phase/model. Phase 3 XAI experiments reuse them without modification.
REPOSITORY STRUCTURE
main.py # single entry point
configs/ # one YAML per experiment
yolo_Y0.yaml → yolo_Y4.yaml
data/
prepare_yolo.py
dataset_yolo_Y0A/B/C/
models/yolo/ # train.py + evaluate.py
results/logs/ # one .log per run
results/plots/ # one .png per run
weights/ # Y1B_detect_best.pt
# Y1B_seg_best.pt
xai/ # Phase 3 placeholder ←
WHAT'S NEXT
Augmentation
CLAHE · Ensemble Prediction · elastic deformation · Albumentations pipeline · AUGMIX – Grayscale Transform
Ensemble Modeling
ResNet-18, YOLOv8 Seg & Local, YOLOv11, DenseNet-121
TTA
Test-time augmentation — zero training cost, +1–3pp mAP expected
IQA Signal
Image Quality Assessment as reliability flag for low-quality X-ray inputs
XAI Phase 3
Pending supervisor approval — CBM · Prototype networks · Counterfactuals – Feature Importance, GRADCAM, Box - Mask
MSc. Explainability & Reliability in Medical AI | April 2026
Slide 16 / 16